DS-1100KI Network Keyboard

User Manual

V 2.0

Preventive and Cautionary Tips

Before connecting and operating your keyboard, please be advised of the following tips:

- Ensure unit is placed in a well-ventilated, dust-free environment.

- Keep all liquids away from the keyboard.

- Please check the power supply to avoid the damage caused by voltage mismatch.

- Please make sure the keyboard work in the allowed range of temperature and humidity.

- Please keep the device horizontal and avoid the installation under severe vibration environment.

- The dust board will cause a short circuit after damping; Please dedust regularly for the board, connector, chassis fan etc with brush.

- Improper use or replacement of the battery may result in hazard of explosion. Replace with the same or equivalent type only. Dispose of used batteries according to the instructions provided by the battery manufacturer.

Table of Contents

Chapter 1 Introduction	4

1.1 Overview	4

1.2 Features	4

1.3 Appearance	5

1.4 Version Update	6

Chapter 2 Operation Guide	7

2.1 User	7

2.2 Buttons	7

2.3 Input Method Shift	10

2.4 Basic Operation Steps	10

2.5 Operating Procedure	11

Chapter 3 Keyboard Configuration	16

3.1 Configuring Keyboard by Admin	16

3.1.1 Login	16

3.1.2 Keyboard Management	16

3.1.3 Device Management	20

3.1.4 User Management	23

3.1.5 Default	27

3.1.6 Logout	27

3.1.7 Reboot	27

3.1.8 Shutdown	28

3.2 Configuring by WEB Server	28

3.2.1 Configuring by Admin	28

3.2.2	Configuring an Operator	32

Chapter 4 Operating by Operator	37

4.1 Device List	37

4.1.1 Encoder Settings	37

4.1.2 Decoder Settings	49

4.2 Input Settings	54

4.2.1 Modifying a Camera	54

4.2.2 Setting Input Group	55

4.3 Output Settings	56

4.3.1 Modifying an Output Channel	56

4.2.2 Setting Output Group	57

4.4 Macro Settings	57

4.5	Local Playback	59

4.5.1 Playback by USB File	59

4.5.2 Playback by File	60

4.5.3 Playback by Time	61

4.6 Advanced Settings	61

4.6.1 Password Settings	61

4.6.2 AUX Key Settings	62

4.6.3 Live View Settings	62

4.7 Logout	63

4.8 Reboot	63

4.9 Shutdown	63

Chapter 5 Keyboard Operation	64

5.1 Shortcut Operation	64

5.2 Local Live View	64

5.3 Display of Decoded Video on Monitor	65

5.3.1 Setting Multi-division Display	65

5.3.2 Setting Camera to Monitor	66

5.3.3 Setting Camera Group to Monitor	66

5.3.4 Setting Camera Group to Window	67

5.3.5 Setting Camera Group to Monitor Group	68

5.3.6 Setting a Tour	68

5.3.7 Calling a Tour	69

5.3.8 Setting a Group Tour	69

5.3.9 Calling a Group Tour	70

5.3.10 Operating Instant Playback	70

5.4 PTZ Control	71

5.4.1 PTZ Control Function	71

5.4.2 Setting a Preset	71

5.4.3 Calling a Preset	72

5.4.4 Setting a Patrol	73

5.4.5 Calling a Patrol	74

5.4.6 Setting a Pattern	75

5.4.7 Calling a Pattern	76

5.5 Aux Functions	78

5.5.1 Two-way Audio	78

5.5.2 Picture Capture	78

5.5.3 Recording	79

5.5.4 Other Functions	79

Chapter 6 Matrix Control	80

6.1 Login	80

6.2 Configuring Matrix	80

6.2.1 Device List	80

6.2.3 Camera List	82

6.2.4 Monitor List	83

6.2.5 Screen Settings	85

Appendix 1: Specifications	87

Appendix 2: Upgrade by FTP	88

# Chapter 1 Introduction

## 1.1 Overview

DS-1100KI Network Keyboard can be used to control the camera/speed dome and the display of decoded video on TV wall, as well as support 1 channel of video view at up to 1080P resolution. Designed with touch screen, it is easy to operate and configure settings.

## 1.2 Features

Hardware

- 7’’ TFT touch screen at 800×480 resolution;

- 4-axis joystick;

- Shortcut keys for dome control, setting and callup of preset, patrol and pattern;

- Shortcut keys for playback operation;

- Shortcut keys for input group and output group;

- Shortcut keys for wiper and light control operation.

Software

- Administrator and operator user management;

- Support upgrade by U-flash disk;

- Auto searching connected devices in the same network area;

- Support 15 operators, and each user is allowed to operate 256 devices with up to 4096 channels;

- Import and export of keyboard parameters;

- Macro command operation;

- Backup of record files to U-flash disk;

- Support two-way audio;

- Support configuration by WEB server.

Decoding Capability

- Provide 1-ch video decoding and local decoding;

- Support standard MPEG4, private H.264 and standard H.264 encoding formats;

- Decoding at up to 1080P resolution.

Display of Decoded Video on Monitor

- Display of decoded camera on selected window;

- Display of decoded camera group on selected window;

- Sequence display of decoded camera group on monitor;

- Sequence display of decoded camera group on monitor group.

## 1.3 Appearance

Front View:

Description of panel:

| Area | Description | Area | Description |
| --- | --- | --- | --- |
|  | Record playback |  | Functional buttons |
|  | Numeric buttons |  | PTZ control area |

Interface Description:

| Area | Description | Area | Description |
| --- | --- | --- | --- |
|  | Touch pen |  | GND |
|  | Line In |  | Audio Out |
|  | Reserved |  | Reserved |
|  | LAN |  | RS-232 Interface |
|  | USB Interface |  | 12 VDC Power Supply |
|  | Power On/Off |  |  |

## 1.4 Version Update

Version 1.1.0

Updated features:

- 4-axis joystick, with the top central button used for capturing images. Refer to 2.2 Buttons for details.

- User can switch to the Operator login interface from the Admin User Management interface. Refer to 3.1.4.2 Setting Related Device for details.

- User should input the password for unlocking the keyboard operation.

- View version information of keyboard. Refer to 3.1.2.1 Version Information for details.

- Configure network transmission performance for local live view. Refer to 4.6.3 Live View Settings for details.

- Configure stream media server. Refer to 4.1.1.7 Stream Media Settings for details.

Version 2.0.0

Updated features:

- Add remote parameters configuration for encoding device. Refer to 4.1.1 Encoder Settings for details.

- Add remote parameters configuration for decoding device. Refer to 4.1.2 Decoder Settings for details.

- Configure keyboard parameters by WEB Server. Refer to 3.2 Configuring by WEB Server for details.

- Support local playback by USB file/ by time / by file. Refer to 4.5 Local Playback for details.

- Support remote playback by time / by file. Refer to 4.1.2.5 Remote Playback for details.

- Support control of Matrix system by keyboard. Refer to Chapter 6 Matrix Control for details.

# Chapter 2 Operation Guide

## 2.1 User

The keyboard user includes the admin and the operator.

The admin user is authorized with the following operation permissions:

- Add a maximum of 15 operators;

- Configure the keyboard parameters;

- Add, modify and delete device;

- Add, modify and delete user, as well as assign device for the user.

The operator user is allowed to operate the assigned device only.

Up to 256 devices can be assigned for each operator.

## 2.2 Buttons

LED Indicators on Panel:

| POWER | LINK | Tx/Rx | COM | ALARM |
| --- | --- | --- | --- | --- |
| Normally lights when the keyboard is powered on | Lights when the keyboard is connected with the network | Flickers when the keyboard is transmitting/receiving data | Reserved | Reserved |

Functional Buttons:

| MON | WIN | CAM | MON-G | CAM-G |
| --- | --- | --- | --- | --- |
| Select monitor | Select window | Select camera | Select monitor group | Select camera group |
| MULT | MAC | TOUR | GROUP | SET |
| Multi-division display | Call macro-command | Set or call tour | Set or call group | Set mode |
| PRESET | CALL | PATROL | PATTERN | AUX1 |
| Set preset | Call preset | Set or call patrol | Set or call pattern | AUX 1 |
| SHIFT | LOCK | PREV | NEXT | AUX2 |
| Shift | Lock screen | Previous camera | Next camera | AUX2 |

Numeric Buttons:

The numeric buttons are used to input numerals.

4-axis Joystick:

Use the joystick to realize pan and tilt movement at 8 directions.

The 4-axis joystick can be used to control the zoom; and the central button used as Enter button and to realize picture capture as well.

Note: The captured pictures must be saved in U-flash disk.

Playback Control:

Rotate the outer ring of shutter in clockwise direction to increase speed, and up to 16X playing speed can be achieved. Rotate the outer ring of shutter in anti-clockwise direction to decrease speed, and 1/16X playing speed can be achieved.

Note: The operation of inner ring of shutter is not supported currently.

|  | Play/Pause |  | Stop |  | Record |
| --- | --- | --- | --- | --- | --- |
|  | Reserved |  | Reserved |  | Reserved |

## 2.3 Input Method Shift

Click the tab  on the soft keyboard to enter the interface for inputting the English letters, and thecan be used to switch the uppercase/lowercase.

Click the tab  on the soft keyboard to enter the interface for inputting the numerals.

## 2.4 Basic Operation Steps

Admin: For the first time to operate the keyboard, user should configure the keyboard parameters in Keyboard Configuration menu, add device and operator, and then link the added device to assigned operator.

Operator: The operator is allowed to operate local live view, remote configuration of encoder/decoder parameters, display of decoded video on monitor, local playback, PTZ control, AUX functions, etc.

## 2.5 Operating Procedure

Steps:

- When the keyboard has started up, it enters the following interface:

- For basic keyboard operation, select the Keyboard icon to continue and enter the login interface.

- Select admin on the login interface and then input the admin password (default: 12345) to enter the admin interface of keyboard operation.

- Click Keyboard > Network to enter the Network Settings interface.

Configure the network settings of the keyboard, including the Port, IP address, Subnet Mask and Default Gateway, and finally click Apply to save the settings.

- Click Return to back to the main interface.

- Click Device on the admin main interface to enter the device management menu.

- Click Add Device to enter the “Device-Add Device” interface. Input the device name, device IP, port, user name and password, and then click Add to add the device.

- Return to the “Device-Device List” interface, and the successfully added device is shown on the list. Click Return to back to the main interface.

- Click User on the main interface to enter the “User-User List” interface.

- In the User List interface, click Add User to enter the “Add User” interface. Input the user name, password and verify the password. Finally, click Add to finish the adding of user.

- Return to the User List interface, and click  of the selected user to enter the “User-Device” interface.

- Click Add Device to enter the “User-Add Device” interface. Select the device by clicking the checkbox, and click Add to add the device for the current user.

- The added device (s) for the current user can be displayed on the “User List” interface.

- You can directly click the  (Login) icon of a user to switch its operating interface.

Or you can click Logout on the admin main interface, the message box “Logout Now?” will pop up. Click Yes to confirm the logout, or No to cancel the operation.

- Multi-division Display

The Operator user is allowed to select different multi-division display modes for the selected output channel. Currently, 1/2/4/9/16-division display modes are configurable.

Steps:

- Press the Num + MON keys to select the monitor.

- Press the Num + MULT keys to select the multi-division display mode for the output channel.

- Display of Decoded Video on Monitor

Steps:

- Press the Num + MON keys to select the monitor.

- Press the Num + WIN keys to select the display window on the monitor.

- Press the Num + CAM keys to select the input camera.

Example: User can input the “1+MON, 2+WIN, 3+CAM” keys to decode the video signal from camera 3 and display it on window 2 of monitor 1.

# Chapter 3 Keyboard Configuration

## 3.1 Configuring Keyboard by Admin

### 3.1.1 Login

Steps:

- Click the Keyboard icon on the startup interface.

- Select admin on the login interface and then input the admin password (default: 12345). Click Login to enter the main interface of admin.

### 3.1.2 Keyboard Management

On the main interface of admin, click the Keyboard on the left navigation bar to enter the Keyboard Management interface. In the Keyboard Management interface, you can view the device version information, configure network parameters, configure hardware settings, adjust time, select language, verify screen and upgrade system.

#### 3.1.2.1 Version Information

Click Version to enter the “Keyboard-Version” interface to view the current version information of the keyboard.

#### 3.1.2.2 Network Settings

Configure the network settings of the keyboard, including the Port, IP address, Subnet Mask and Default Gateway, and finally click Apply to save the settings.

Note: Make sure the DHCP is supported by the router before enabling the function.

#### 3.1.2.3 Hardware Settings

Sound Effect/Alarm Sound/Key Light: Click the corresponding checkbox to  to enable the function, or remain it as  to disable the function.

Lock the Keyboard, Save the Screen: Use the  or  to decrease or increase the key lock timeout and the screen-close timeout, with the range of 0~10 minute (s) configurable.

Transparency: Click  to select the value from the drop-down menu, with the 3: 1, 1: 1, 1: 3 and non transparent optional.

Note: The Transparency refers to the contrast of the local decoded video and menu, and is valid only for the local live view.

Mouse Speed: Select the mouse speed to level 0~2 or 1~3.

Brightness: Select the screen brightness to level 0~3.

Click Apply to save the settings.

#### 3.1.2.4 Time Settings

Date: Click  to select the date from the calendar.

Time: Click  or  to decrease or increase the time value.

Click Apply to save the settings.

#### 3.1.2.5 Language

Language: Click  to select the option from the drop-down menu.

Click Apply to save the setting.

#### 3.1.2.6 Screen Verify

In order to use the touch screen correctly, it needs to calibrate the screen positioning properly.

Steps:

- Click Calibration to start the calibration of touch screen positioning.

- The system will pop up the Hint message box. Click Yes to continue the calibration.

- Use the touch pen to click the three spots marked as “+” by following the hints.

- The system will pop up the hint “Screen Calibration completed”, click OK to finish the operation.

#### 3.1.2.7 Upgrade

FTP Upgrade

- Input the address of the FTP server and then click FTP Upgrade to operate the upgrade.

Note: You must create the FTP server connection first by TFTP or WFTP in PC before operating the FTP upgrade. Please refer to Appendix2 for the upgrading.

- If the upgrading is failed, the corresponding error message box will pop up.

Note: When the upgrading is successful, the keyboard will restart automatically to complete the upgrade.

USB Upgrade

Steps:

- Insert the U flash disk to the USB interface and then click USB Upgrade to enter the USB upgrade interface.

- Select the upgrade file from the disk and finally click Upgrade to start upgrading.

Note: The upgrade file must be digicap.dav.

- If the upgrading is failed, the corresponding error message box will pop up.

Note: When the upgrading is successful, the keyboard will restart automatically to complete the upgrade.

### 3.1.3 Device Management

Click Device on the admin main interface to enter the “Device-Device List” interface.

#### Adding Device

Auto Search: Click Auto Search button at the upper left corner to enter the “Device-Auto Search” interface. Select the start IP and end IP of the device to be searched, and then click Search to start searching. After the searching is completed, all devices searched out and their information will be displayed in the list below. Select the device from the list, input its user name and password, and then click Add to add it to the system.

Note: Only the device that is in the same network area with the keyboard can be searched out by the keyboard.

Status: In the status bar, the icon  indicates the device is not added,  indicates the device is failed to be added, and the  indicates the device is successfully added.

User can also select multiple devices to be added each time.

If the adding is failed, in the status bar it will display in. If the adding is successful, it will display in.

Note: The devices for bulk adding must have the same user name and password.

After having added the devices, click Return to return to the “Device-Device List” interface, where user can view the information of added devices.

Add Device: Click Add Device to enter the “Add Device” interface. Input the device name, device IP, port, user name and password, and then click Add to add the device.

If the input message is incorrect or the device is offline, the message box “Add Device failed” will pop up.

#### Modifying/Deleting Device

Modify Device: On the “Device-Device List” interface, click  of the device from the list to be modified and enter the “Device-Modify Device” interface. You are allowed to modify the device name, port, user name and password. Finally, click Modify to modify the device information.

Note: The user name and password here refer to that are used for to log in the device from keyboard.

Delete Device: On the “Device-Device List” interface, select the device from the list to be deleted, and click  to delete it. In the pop-up message box, click Yes to finish the deletion.

### 3.1.4 User Management

Click User on the admin main interface to enter the “User-User List” interface.

#### 3.1.4.1 Adding User

Add User

Steps:

- Click Add User to enter the “User-User List” interface.

- Input the user name, password and verify the password.

- Click Add to finish the adding of user.

#### 3.1.4.2 Setting Related Device

Steps:

- In the “User-User List” interface, click  to enter the “User-Device” interface.

- Click Add Device to enter the “User-Add Device” interface. Select the device by clicking the checkbox, and click Add to add the device for the current user.

- The successfully added device is listed on the “User-Device” interface.

- After having configured the above settings, click Logout on the admin main interface, the message box “Logout Now?” will pop up. Click Yes to confirm the logout, or No to cancel the operation.

Delete Device

Enter the “User-Device” interface, you can select the device from the list and click  to delete the related device for the current user. In the pop-up message box, click Yes to confirm the deletion.

Operator User Login

On the “User-User List” interface, you can click  (Login Operator) to directly switch to the Operator user login interface.

#### 3.1.4.3 Modifying User Password/Deleting User

Modify User Password: On the “User-User List” interface, you can click  to change of password of the selected user.

Delete User: Click  to delete the selected user.

#### 3.1.4.4 Configuring File

Click Config file on the admin main interface to enter the file Export/Import Configuration interface.

Importing Configuration

- Insert the U-flash disk to the USB interface on the keyboard.

- Enter the disk to select a file.

- Click Import to import the configuration file.

Exporting Configuration

- Insert the U flash disk to the USB interface on the keyboard.

- Click Export to export the configuration file named in kbCfg.bin.

If the imported configuration file is not correct, the message box “Importing file failed: file type mismatched” will pop up.

### 3.1.5 Default

Click Default on the admin main interface, the message box “Restore default parameters now” will pop up. Click Yes to continue the operation, or No to cancel the operation.

### 3.1.6 Logout

Click Logout on the admin main interface, and the message box “Logout now?” pops up.

Click Yes to confirm the logout, or No to cancel the operation.

After logout, the system will return to the User Login interface.

### 3.1.7 Reboot

Click Reboot on the admin main interface, the message box “Reboot now?” will pop up. Click Yes to confirm the reboot, or No to cancel the operation.

### 3.1.8 Shutdown

Click Shutdown on the admin main interface, the message box “Shut down now?” will pop up. Click Yes to confirm the shutdown, or No to cancel the operation.

## 3.2 Configuring by WEB Server

You are also allowed to configure the keyboard parameters by WEB server.

### 3.2.1 Configuring by Admin

Open IE browser, input the IP address of the keyboard (e.g., http://172.6.24.64) and click Enter.

The system pops up a login interface. Input the user name (admin) and password (default: 12345), and then click OK to log into the keyboard.

After successful login, you enter the main interface:

#### Keyboard Management

Click Keyboard on the left navigation bar to enter the Keyboard management interface:

On this interface, you can configure the hardware and network parameters of the keyboard.

#### User Management

Click User on the left navigation bar to enter the User management interface:

On this interface, you can add, modify or delete the user account.

Adding a User

Click the Add button to enter the Add Users interface. Input the user name and password to create a new user account.

Modifying a User

Select a user from the list and click the  icon to enter the following interface to change its password.

Deleting a User

Select a user from the list and click the  icon. In the pop-up message box, click OK to delete the selected user account.

Setting User-Device

Select a user from the list and click the  button to enter the User-Device interface.

On this interface, you can add device for the current user.

Click Add to enter the User-Add Device interface on which it displays all devices already added to the keyboard by admin.

Select the device (s) from the list and then click Add button to finish the adding of device (s) for the current user.

On the User-Device interface, you can view the successfully added devices for the current user.

You can also select the device from the list and click the  icon to delete it.

#### Device Management

Click Device on the left navigation bar to enter the Device management interface:

On this interface, you can add, modify or delete the device.

Adding a Device

Click Add to enter the Add User interface. Input the name, IP, port and login user name/password of the device to add.

Click OK to finish the adding of the device.

The successfully added devices will be displayed on the list of Device Interface.

Modifying a Device

Select a device from the list and click the  icon to enter the following interface to change its Device Name.

Deleting a Device

Select a device from the list and click the  icon to delete it.

### Configuring an Operator

#### 3.2.2.1 Device List

On the login interface, input the user name and password of operator, and then click OK to log into the keyboard.

After successful login, you enter the Device List interface:

On the device list, select a encoding device and click the  icon to enter the Network-Stream media interface to configure stream media for the device.

#### 3.2.2.2 Input Settings

Click Input on the left navigation bar to enter the Input List interface:

Modifying a Camera

By selecting a camera from the list and clicking the  icon, you are allowed to modify its name, No. protocol and stream type.

Setting a Camera Group

- Click the Group key on the Input List to enter the Input Group interface:

- Select the Group No..

- Click the Add Camera key to enter the Add Camera interface:

- Select the cameras from the list to be added to the group, and then click Add to finish the setting.

- Return to the Input Group interface, you can view the successfully added cameras for the current group.

#### 3.2.2.3 Output List

Click Output on the left navigation bar to enter the Output List interface:

Modifying an Output Channel

By selecting an output channel from the list and clicking the  icon, you are allowed to modify its output No..

Setting an Output Group

Click the Group key on the Output List to enter the Output Group interface to add an output group. Please refer to the same operating steps in Setting an Input Group section.

#### 3.2.2.4 AUX Functions

Click the Aux Key on the left navigation bar to enter the Aux Key settings interface:

On this interface, you can set the function of Aux Key 1 / Aux Key 2 to two-way audio or picture capturing.

#### 3.2.2.5 Live View Performance

Click the Preview on the left navigation bar to set the network performance of local live view on keyboard. Five levels are selectable.

# Chapter 4 Operating by Operator

On the User Login interface, select the user name (operator) and password, and then click Login to enter the operator main interface.

Enter the operator main interface.

## 4.1 Device List

Click the Device List on the main interface to enter the Device List interface.

The list will display all devices which can be controlled by the current login user.

### 4.1.1 Encoder Settings

Click theof an encoder on the “Device List” interface and enter its remote settings.

On this interface, you can configure the settings for network, RS-232/RS-485 serial port, camera, alarm, exception, stream media, etc.

#### Network Settings

Click Network on the remote settings interface to enter the Network Settings interface.

You can enter the following settings interface to configure the network parameters:

General Settings: Configure the NIC type, IP address, port, gateway, subnet mask, MAC address, multicast address and HTTP port of the current encoder device.

Advanced Settings: Configure the DNS server address, alarm host IP and alarm host port of the current encoder device.

PPPoE: Configure the user name and password of PPPoE settings.

DDNS: Enable DDNS, select the protocol type to IPServer, DynDns, PeanutHull or NO-IP, and configure the corresponding settings.

NTP: Configure NTP settings to synchronize the time of device to the selected time zone.

Network Disk: Set the IP address, file path and type of the network disk to use.

#### Serial Port Settings

Click Serial on the remote settings interface to enter the Serial Settings interface.

You can set the RS232 port and RS485 parameters.

#### Camera Settings

Click Camera on the remote settings interface to enter the Serial Settings interface.

You can configure the video display, video parameters, record settings, motion detection, video loss detection, tampering alarm, privacy mask, and IP management (for hybrid DVR and NVR only).

##### Configuring Video Display

On the Video Display interface, you can select the camera name for configuration, edit the camera name, select display or not display of the name/date /week, set the date/time format and OSD display. You can also copy the current settings to other camera (s).

##### Configuring Video Parameters

On the Video Parameters interface, you can select the camera name for configuration, set the main/sub stream,   stream type, resolution, frame rate, bit rate type, Max. bit rate, and image quality. You can also copy the current settings to other camera (s).

##### Configuring Record Settings

- Configuring Advanced Settings

On the Record Settings interface, select the camera for configuration. Click Advanced to enter the Advanced Settings interface where you can configure the pre-record, post-record, expired time, redundantly record, record audio, etc.

Pre-record: The time you set to record before the scheduled time or event. For example, when an alarm triggered the recording at 10:00, if you set the pre-record time as 5 seconds, the camera records it at 9:59:55.

Post-record: The time you set to record after the event or the scheduled time. For example, when an alarm triggered the recording ends at 11:00, if you set the post-record time as 5 seconds, it records till 11:00:05.

Expired Time: The expired time is the longest time for a record file to be kept in the HDD, if the deadline is reached, the file will be deleted. You can set the expired time to 0, and then the file will not be deleted. The actual keeping time for the file should be determined by the capacity of the HDD.

Redundantly Record: Enabling redundant record or capture means you save the record and captured picture in the redundant HDD.

Record Audio: Choose “yes” to record the sound, “no” to record the image without sound.

- Editing Recording Schedule

On the Record Settings interface, click Edit to enter the Advanced Settings interface where you can configure the pre-record, post-record, expired time, redundantly record, record audio, etc.

Steps:

- Click the checkbox of Enable Schedule item.

- Select the day you want to set recording schedule. You can also select it to All Week.

- To schedule an all-day recording, click the checkbox of the All Day item.

- Select the recording type for the selected day to Time, Motion Detection, Alarm, Motion / Alarm or Motion & Alarm.

- Configure the period for each day and select the recording type for the selected period.

Note: Up to 8 periods can be configured for each day.

- Click Save to save the current settings and Cancel to return to the previous interface.

- On the Record Settings interface, you can view the configured recording schedule.

- If you want to configure the other cameras with the same settings, choose the camera and click Copy. You can also select All to copy the current settings to all cameras.

- Click Apply to save the current settings and Cancel to return to the previous interface.

##### Configuring Motion Detection

Follow the steps to set the motion detection parameters for the Encoder device. In the live view mode, once a motion detection event takes place, the device can analyze it and do many actions to handle it. Enabling motion detection function can trigger certain channels to start recording, or trigger full screen monitoring, audio warning, notify the surveillance center and so on. In this chapter, you can follow the steps to schedule a record which triggered by the detected motion.

Steps:

- On the Camera Settings interface, click Set beside Motion Detection to enter the Motion Detection Settings interface.

- Select the camera for configuring motion detection.

- Click the checkbox of Enable item to enable motion detection.

- Set the sensitivity level. Up to 6 levels and OFF are selectable.

- Click the Set button beside Area Settings to set motion detection area.

- Click Start Drawing, and then use the mouse to click two points on the live view screen to draw area for motion detection.

- To clear the motion detection area (s), click Clear All.

- Click the Set button beside Arming Schedule to configure the arming schedule of motion detection for the current camera.

- Click the Set button beside Linkage Method to configure the linkage method. If the Trigger Alarm Output is selected, you should click the Set button to configure the triggered alarm output (s).

- After having configured the above setting and if you want to configure the other cameras with the same settings, choose the camera and click Copy. You can also select All to copy the current settings to all cameras.

- Click Apply to save the current settings and Cancel to return to the previous interface.

##### Configuring Video Loss Detection

Detect the video loss of a camera and take alarm response action(s).

Steps:

- On the Video Loss interface, click Set beside Video Loss to enter the Video Loss Detection interface.

- Select the camera for configuring video loss detection.

- Click the checkbox of Enable item to enable video loss detection.

- Click the Set button beside Arming Schedule to configure the arming schedule of video loss detection for the current camera.

- Set the Linkage Method by selecting the methods list below. If the Trigger Alarm Output is selected, you should click the Set button to configure the triggered alarm output (s).

- After having configured the above setting and if you want to configure the other cameras with the same settings, choose the camera and click Copy. You can also select All to copy the current settings to all cameras.

- Click Apply to save the current settings and Cancel to return to the previous interface.

##### Configuring Video Tampering Alarm

Trigger alarm when the lens is covered and take alarm response action(s).

Steps:

- On the Camera Settings interface, click Set beside Tampering Alarm to enter the Video Tampering Alarm Settings interface.

- Select the camera for configuring video tampering detection.

- Click the checkbox of Enable item to enable video tampering detection.

- Set the sensitivity level to High, Middle or Low.

- Click the Set button beside Area Settings to set video tampering detection area. Please refer to the settings of motion detection area.

- Click the Set button beside Arming Schedule to configure the arming schedule of video loss detection for the current camera.

- Set the Linkage Method by selecting the methods list below. If the Trigger Alarm Output is selected, you should click the Set button to configure the triggered alarm output (s).

- After having configured the above setting and if you want to configure the other cameras with the same settings, choose the camera and click Copy. You can also select All to copy the current settings to all cameras.

- Click Apply to save the current settings and Cancel to return to the previous interface

##### Configuring Privacy Mask

You are allowed to configure the four-sided privacy mask zones that cannot be viewed by the operator.

Steps:

- On the Camera Settings interface, click Set beside Privacy Mask to enter the Privacy Mask Settings interface.

- Select the camera for configuring privacy mask.

- Click the checkbox of Enable item to enable privacy mask.

- Click the Set button beside Area Settings to set privacy mask area. Please refer to the settings of motion detection area.

- After having configured the above setting and if you want to configure the other cameras with the same settings, choose the camera and click Copy. You can also select All to copy the current settings to all cameras.

- Click Apply to save the current settings and Cancel to return to the previous interface.

##### Configuring IPC Management

If the current Encoder device is Hybrid DVR or NVR type, you can also enter the Channel List interface by clicking Set beside IPC Management on the Camera Settings interface.

Adding IP Camera:

- Click the IPC List tag to enter the IPC management interface.

- Click Add IPC to enter the IPC Parameters interface.

- Configure the Camera No., Registration (IP address/domain name), IP address/ Domain name, Port, User Name, Password, Channel No. and Factory (protocol type) to add the IP camera.

- Click OK to finish the adding of current IP camera.

Editing Status of Analog Camera:

For Hybrid DVR, you can view the status of the connected analog camera, as well as increase the number of IP camera to add by changing the disabling the analog camera (s).

- Click the Analog List tag to enter the IPC management interface. You can the information of the connected analog camera.

- Click Status to enter the Analog Camera Status interface.

- You can de-select the camera (s) to disable the analog camera(s) connected.

Note: Please refer to the User Manual of DS-9000 or DS-7600 for detailed instructions.

#### Alarm Settings

Click Alarm on the remote settings interface to enter the Alarm Settings interface where you can configure the alarm input, alarm output and manual alarm.

- Configuring Alarm Input

- Click Set beside Alarm Input to enter the Alarm Input Settings interface.

- Select the alarm input for configuration.

- Edit the Alarm Name.

- Select the Alarm Type to Normally Open or Normally Close.

- Set the handling method for the selected alarm input by clicking the checkbox of Handling Alarm.

Configure the Arming Schedule and Linkage Method to set up its alarm response actions, as well as triggered camera and PTZ linkage (calling defined preset / patrol / pattern).

- After having configured the above setting and if you want to configure the other cameras with the same settings, choose the camera and click Copy. You can also select All to copy the current settings to all cameras.

- Click Apply to save the current settings and Cancel to return to the previous interface.

Note: Please refer to the Please refer to the User Manual of the current DVR for detailed instructions.

- Configuring Alarm Output

- Click Set beside Alarm Output to enter the Alarm Output Settings interface.

- Select the alarm output for configuration.

- Set the Hold For (duration) time for the alarm output.

- Set the Hold For (duration) time for the alarm output.

- Configure the Arming Schedule of the alarm output.

- After having configured the above setting and if you want to configure the other cameras with the same settings, choose the camera and click Copy. You can also select All to copy the current settings to all cameras.

- Click Apply to save the current settings and Cancel to return to the previous interface.

- Configuring Manual Alarm

- Click Set beside Manual Alarm to enter the Manual Alarm Settings interface.

- Select the alarm output (s) for manual triggering.

- Click OK to return to the Alarm Settings interface.

#### Exceptions

Configure the exception handling method (s) for each exception type.

Steps:

- Click Exceptions on the remote settings interface to enter the Exception Settings interface.

- Select the exception type to configure with handling method (s). The exception types include:

HDD Full: The HDD is full.

HDD Error: Writing HDD error, unformatted HDD, etc.

Network Breakdown: Disconnected network cable.

IP Conflicted: Duplicated IP address.

Illegal Login: Incorrect user ID or password.

- Select the handling method (s) by clicking the checkbox (s) for the selected exception type.

Audio Warning: Audible beep when an alarm is detected.

Notify Surveillance Center: Send an exception or alarm signal to remote alarm host when an event occurs. The alarm host refers to the PC installed with Remote Client.

Email Linkage: Send an email with alarm information to a user or users when an alarm is detected.

Trigger Alarm Output: Trigger an alarm output when an alarm is triggered. You can click the Set button to set the alarm output (s) to trigger.

- Click Apply to save the current settings.

#### Maintenance

Click Maintenance on the remote settings interface to enter the Device Management interface.

HDD management: Set and initialize HDD, and set HDD in group management.

User Management: Add/modify/delete user account, and assign operating permissions for each user.

Device Information: View the version and basic information of the encoder device.

Device Upgrade: Remotely upgrade the device by USB file.

Import/Export: Import/export configuration files.

Restore Default: Restore factory default settings.

Remote Panel: Use the remote front panel of the device to realize operation.

#### Stream Media Settings

- Click Stream Media on the remote settings interface to enter the Stream Media Settings interface.

- Enable the Stream Media by clicking the checkbox.

- Input the IP address and port of the server.

Note: The Server IP refers to the IP address of the PC on which the stream media software is running.

- Click Apply to save the settings.

### 4.1.2 Decoder Settings

Click theof a decoder on the “Device List” interface and enter its remote settings.

On this interface, you can configure the settings for network, RS-232/RS-485 serial port, output, decode state, playback, maintenance, etc.

#### Network Settings

Click Network on the remote settings interface to enter the Network Settings interface.

You can configure the general settings, advanced settings, PPPoE, DDNS and NTP parameters of the decoder.

Please refer to the Network Settings of the Encoder for details.

#### Serial Port Settings

Click Serial on the remote settings interface to enter the Serial Settings interface.

You can set the RS232 port and RS485 parameters.

#### Output Settings

You can configure parameters for the display of decoded output video on monitor.

Steps:

- Click Output on the remote settings interface to enter the Output Settings interface.

- Select the display channel.

- Enable audio and configure it for a window if required.

- Set the video format and resolution of the decoded video output.

- Select the window-division mode (1/2/4-division).

- Configure window for relevant channel.

- Select a window and its relevant channel.

- Click Save to save the current widow settings.

- Repeat the same steps to configure the other windows for their related channels.

- After having configured the above settings, click Apply to finish the settings or Clear to cancel the settings.

#### Decoding Status

Click Decode State on the remote settings interface to enter the Decode Sate interface.

You can view the working status of each decode channel, including the decode state, stream type, package mode, video/audio frame rate, etc.

#### Remote Playback

The video files stored in the encoding device can be played back through the related decoder. Two remote playback modes are available: playback by time and playback by file.

Click Playback on the remote settings interface to enter the Remote Playback interface.

Steps:

- Playback by File:

- Click Playback beside Playback By File on the Remote Playback interface to enter the Playback By File interface.

- Input the Camera No. for playback.

If the encoding device is ATM DVR, you can input the Card No.

- Select the record type and file type.

- Set the start time and end time of the video files for playback.

- Click Search to search the matched video files.

- The searching results can be viewed on the Playback File List interface.

- Select the file for playback from the list and click Select Output to enter the Playback Select interface.

- Select the output channel and output window. Click Playback to play back the selected video file.

- Playback by Time:

- Click Playback beside Playback By Time on the Remote Playback interface to enter the Playback By Time interface.

- Input the Camera No. for playback.

If the encoding device is ATM DVR, you can input the Card No.

- Set the start time and end time of the video files for playback.

- Click Select Output to search the matched video files.

- Select the output channel and output window. Click Playback to play back the recoded video.

#### Maintenance

Click Maintenance on the remote settings interface to enter the Device Management interface.

User Management: Add/modify/delete user account, and assign operating permissions for each user.

Device Information: View the version and basic information of the decoder device.

Device Upgrade: Remotely upgrade the device by USB file.

Import/Export: Import/export configuration files.

Restore Default: Restore factory default settings.

## 4.2 Input Settings

Click Input on the main interface to enter the Input Settings interface.

The list has displayed all device cameras which can be controlled by the current login user.

Note: The camera name shown in the Camera Name is obtained from the corresponding device.

### 4.2.1 Modifying a Camera

Select a camera from the “Input Settings-Input List” interface, and click to modify the camera name, camera No., protocol and stream type.

Note: The Camera No. should be set uniquely from 1 to 999999.

### 4.2.2 Setting Input Group

Steps:

- Click Input Group to enter the “Input Settings-Input Group” interface.

- Click to select the group No. from the drop-down menu.

Note: Up to 16 camera groups can be added.

- Click the Add Camera key to enter the “Add Camera” interface:

- Select the cameras from the list to be added to the group, and then click Add to finish the setting.

- Click Finish to return to the “Input Group” interface, where you can view the successfully added cameras for the current group.

You can click  to delete the added camera.

## 4.3 Output Settings

Click Output on the main interface to enter the Output Settings interface.

The list has displayed all output channels added to the current login user.

### 4.3.1 Modifying an Output Channel

Select an output channel from the on the “Output Settings-Output List” interface, and click to modify the output No..

Note: The Output No. should be set uniquely from 1 to 999999.

### 4.2.2 Setting Output Group

Steps:

- Click Output Group to enter the “Output Settings-Output Group” interface.

- Click to select the group No. from the drop-down menu.

- Click the Add Output key to enter the “Add Output” interface:

- Select the outputs from the list to be added to the group, and then click Add to finish the setting.

- Click Finish to return to the “Output Group” interface, where you can view the successfully added output channels for the current group.

You can click  to delete the added output.

## 4.4 Macro Settings

The macro command can be used for operating a series of continuous actions in sequence.

Operation: Press the “Num + MAC” keys to call the programmed macro command.

Click Macro on the main interface to enter the Macro Settings interface.

Adding Macro

Click Add Macro to enter the “Macro Setting-Add Macro” interface. Edit the macro name, and press the command keys on the keyboard to enter the text box below. Finally, click Add to add the current macro command.

Note:

- Up to 128 macro commands can be added.

- Max. 6 numerals can be included in a macro command.

- The local decoding and live view operation is not supported currently.

Viewing Macro

The added Macro commands are listed on the “Macro Settings-Macro List” interface.

You can click  to view each macro command.

Running Macro

Select a command from the list and click  to run the command, or directly click “Num + MAC” keys on the interface to call the macro command.

Deleting Macro

You can click  to delete the added macro command.

## Local Playback

The video files stored in the encoding device can be played back through the related decoder. Three playback modes are available: playback by USB file, playback by time and playback by file.

For remote playback, please refer to Chapter 4.1.2.5 Remote Playback.

Click Playback on the main interface to enter the Local Playback interface.

### 4.5.1 Playback by USB File

Steps:

- Connect your USB disk to the keyboard.

- Click the Local File tab on the “Local Playback” interface to enter the Playback by Local File interface.

- Select the video file from the USB disk for playback.

- Click Playback to play the selected video file.

### 4.5.2 Playback by File

Steps:

- Click the By file tab on the “Local Playback” interface to enter the Playback by File interface.

- Input the Camera No. for playback.

If the encoding device is ATM DVR, you can input the Card No.

- Select the record type and file type.

- Set the start time and end time of the video files for playback.

- Click Search to search the matched video files.

- The searching results can be viewed on the Playback File List interface.

- Select the file for playback from the list and click Playback to enter the Playback Select interface.

- Select the output channel and output window. Click Playback to play back the selected video file.

### 4.5.3 Playback by Time

- Click the By time tab on the “Local Playback” interface to enter the Playback by Time interface.

- Input the Camera No. for playback.

- Set the start time and end time of the video files for playback.

- Click Playback to play back the recoded video.

## 4.6 Advanced Settings

Click Advance on the main interface to enter the Advanced Settings interface where you can configure the password, AUX key and live view settings.

### 4.6.1 Password Settings

Click Password on the Advanced Settings interface to enter the Password Settings interface.

It is allowed to modify the password for the current login user.

Enter the current password and new password, and then click Apply to finish the password modification.

### 4.6.2 AUX Key Settings

Click Aux Key on the Advanced Settings interface to enter the Aux Key Settings interface.

On the “Advanced Settings-Aux Key” interface, the Aux Key 1 and Aux Key 2 correspond to the AUX1 and AUX2 keys on the keyboard respectively.

The function of AUX1/AUX2 can be set to Two-way Audio or Picture Capture.

Click  to select the Aux function for each Aux Key, and then click Apply to save the settings.

### 4.6.3 Live View Settings

Click Preview on the Advanced Settings interface to enter the Preview Settings interface.

It allows you set the network performance of local live view on keyboard. Five levels are selectable.

## 4.7 Logout

Click Logout on the main interface, and the message box “Logout Now?” will pop up. Click Yes to confirm the logout, or No to cancel the operation.

After logout of current login user, the system will return to the User Login interface.

## 4.8 Reboot

Click Reboot on the main interface, the message box “Reboot now?” will pop up. Click Yes to confirm the reboot, or No to cancel the operation.

## 4.9 Shutdown

Click Shutdown on the main interface, the message box “Shut down now?” will pop up. Click Yes to confirm the shutdown, or No to cancel the operation.

# Chapter 5 Keyboard Operation

## 5.1 Shortcut Operation

The operating user must log in the keyboard to realize all shortcut operations (except LOCK).

Shortcut Operation: Press the Num keys on the keyboard to enter the shortcuts operation interface.

Note:

- When user enters the shortcuts operation interface by inputting the Num key, press ESC to cancel the inputted numeral from the screen and start the shortcut operation.

- When user enters the shortcuts operation interface by inputting the SET key, user should press it again before starting the shortcut operation.

In the shortcuts operation interface, the left part has displayed the current output channel, and user can select different window-division display modes, set input channel for each window, or configure other shortcut operations.

And the right part of the interface is used for displaying the current key input and some shortcut operations.

Lock: The LOCK button on the keyboard is used to lock the keyboard and mouse operation. After being locked, it is unallowable to operate all keys (except LOCK), joystick, mouse and the touch screen.

In the any interface or operation status, user can press the SHIFT + LOCK keys to lock the keyboard operation.

In the lock status, user can press the SHIFT + LOCK keys to unlock the keyboard operation.

Note: The keys will be locked as well when the screen is automatically locked.

## 5.2 Local Live View

The local live view refers to display the video signal from the input channel through the network keyboard. Currently, only the 1-window display mode for 1 decoding channel is supported. In the preview mode, user can operate other shortcut functions.

Steps:

- Press the 0+MON keys to enter local preview.

- Press the Num + CAM keys to select the camera input for display on the screen.

Note: In the local operation status, it is unallowable to operate the window (WIN), camera group (CAM-G), multi-division display (MULT) and camera tour (TOUR) functions.

- Press the ESC key on the keyboard to enter full-screen preview mode.

Note:

- Up to 1080P resolution is supported for local live view.

- User can press the 0+CAM keys to stop the dynamic decoding of the current window.

## 5.3 Display of Decoded Video on Monitor

### 5.3.1 Setting Multi-division Display

User is allowed to select different multi-division display modes for the selected output channel. Currently, 1/2/4/9/16-division display modes are configurable.

Steps:

- Press the Num + MON keys to select the monitor.

- Press the Num + MULT keys to select the multi-division display mode for the output channel.

Note: In the local live view mode when user inputs 0+MON keys, the multi-division display mode is not supported.

Note: Corresponding error message will appear on the screen when user performs wrong operation. E.g., when the multi-division number entered by the user is not supported by the current output camera, the message”wrong operation” will appear.

### 5.3.2 Setting Camera to Monitor

The selected input signal can be outputted and displayed by the decoding channel on the monitor. Currently, the supported decoding resolution includes: QCIF, CIF, 2CIF, DCIF, 4CIF, 720p, 1080p, VGA, UXGA, etc. The output interface can be selected to BNC/VGA/HDMI/DVI.

Steps:

- Press the Num + MON keys to select the monitor.

- Press the Num + WIN keys to select the display window on the monitor.

- Press the Num + CAM keys to select the input camera.

Example: User can input the “1+MON, 2+WIN, 3+CAM” keys to decode the video signal from camera 3 and display it on window 2 of monitor 1.

When user presses the 0+CAM keys, it will stop the dynamic decoding of the current window. If no display window is selected, the decoding of the 1st window will be stopped by default.

Note:

- In the local live view mode, when user inputs 0+MON keys, only the single-window display mode is supported.

- Corresponding error message will appear on the screen when user performs wrong operation.

### 5.3.3 Setting Camera Group to Monitor

The video signal from the selected camera group can be outputted to and displayed by the decoding channel on monitor.

- When the number of cameras is equal to or less than the number of display windows on screen, e.g., 8 cameras(9 windows, then each camera will be displayed on its corresponding monitor respectively, e.g., camera 1 on window 1, camera 8 on window 8, etc.

- When the number of cameras is more than the number of display windows on screen, e.g., 34 cameras( 16 windows, then the camera 1-16 will be displayed on window 1-16, camera 17-32 on window 1-16, and camera 33-34 on window 1-2 in cycle view mode.

Note: The default dwell time for the cycle view is 30 sec.

Steps:

- Press the Num + MON keys to select the monitor.

- Press the Num + CAM-G keys to select the input camera group to be decoded and displayed on the monitor.

Note:

- In the local live view mode when user inputs 0+MON keys, the multi-division display mode is not supported.  When user presses the 0+CAM keys, it will stop the dynamic decoding of the current window.

- Corresponding error message will appear on the screen when user performs wrong operation.

### 5.3.4 Setting Camera Group to Window

The video signal from the camera group can be outputted to and displayed on the selected window of monitor in cycle.

Note: The default dwell time for the cycle view is 30 sec.

Steps:

- Press the Num + MON keys to select the monitor.

- Press the Num + WIN keys to select the display window on the monitor.

- Press the Num + CAM-G keys to select the camera group.

Example: User can input the “1+MON, 2+WIN, 3+CAM-G” keys to decode the video signal from camera group 3 and display it on window 2 of the monitor 1.

Note: In the local live view mode when user inputs 0+MON keys, the cycle view function is not supported.  When user presses the 0+CAM keys, it will stop the dynamic decoding of the current window.

Note: Corresponding error message will appear on the screen when user performs wrong operation.

### 5.3.5 Setting Camera Group to Monitor Group

The selected camera group signal can be outputted and displayed by the decoding channel on the selected monitor group.

- When the number of cameras in the camera group is equal to or less than the number of monitors in the  monitor group, e.g., 8 cameras(9 monitors, then each camera will be displayed on its corresponding monitor respectively, e.g., camera 1 on monitor 1, and camera 8 on monitor 8, etc.

- When the number of cameras in the camera group is more than the number of monitors in the monitor group, e.g., 34 cameras(16 monitors, then the camera 1-16 will be displayed on monitor 1-16, camera 17-32 on monitor 1-16, and camera 33-34 on window 1-2 in cycle view mode.

Note: The default dwell time of cycle view is 30 sec.

Steps:

- Press the Num + MON-G keys to select the monitor group.

- Press the Num + CAM-G keys to select the camera group to be viewed in cycle on the specified monitor group.

Note: In this operation mode, each output channel in the selected monitor group will be displayed on the screen in 1-division mode by default.

### 5.3.6 Setting a Tour

Up to 64 cameras can be set in a tour, with the dwell time configurable. The default dwell time is 30 seconds.

When the system is not in the playback mode, user can directly press the SET key then the Num + TOUR keys to enter the tour settings interface.

Steps:

- Press the SET key to enter the tour settings interface.

- Press the Num + TOUR keys to set the selected tour.

- Press the Num + ENTER keys to set the dwell time of the camera and the camera number.

- Repeat Step 3 to set other cameras.

- Press the SET key to finish the tour settings.

Note: The tour settings will not be saved after the keyboard is rebooted.

Up to 8 tours can be supported currently.

The dwell time of the tour is the length of time used for switching from one camera to the next camera in the tour. All cameras are set with the same dwell time.

Note:

- All programmed parameters will be cleared if user presses the Num + TOUR keys again in the process of setting tour.

- Corresponding error message will appear on the screen when user performs wrong operation.

### 5.3.7 Calling a Tour

Steps:

- Press the Num + MON keys to select the monitor for display.

- Press the Num + TOUR keys to call the programmed tour to be displayed on the selected monitor.

### 5.3.8 Setting a Group Tour

Multiple camera groups can be displayed on the specified monitors in tour respectively. Each user is allowed to set up to 8 group tours, and each group can include 8 camera groups to specified monitors.

When the system is not in the playback mode, user can directly press the SET key and then Num + GROUP keys to enter the group tour settings interface.

Steps:

- Press the SET key to enter the settings interface.

- Press the Num + GROUP keys to set the group tour.

- Press the Num + ENTER keys to set the monitor (MON) number.

- Press the Num + ENTER keys to set the camera group (CAM-G) number.

- Repeat step 3-4 to set other monitors and camera groups.

- Press the SET key to finish the group tour settings.

Note:

- The group tour settings will not be saved after keyboard reboot. And if user presses the Num + GROUP keys in the process of setting the group tours, all previous settings will be cleared.

- Corresponding error message will appear on the screen when user performs wrong operation.

### 5.3.9 Calling a Group Tour

Multiple camera groups can be automatically displayed on related monitors respectively in tour by calling the programmed group tour, e.g., camera group 1 on monitor 1, camera group 2 on monitor 2, etc.

If multiple camera groups are configured for the same monitor, then it is available for the display of the last programmed camera group only.

The dwell time of group tour can be configured.

Steps:

Press the Num + GROUP to directly call the programmed group tour.

### 5.3.10 Operating Instant Playback

The recorded files of the previous 30 seconds can be played back via the keyboard instantly. R

Steps:

- Input the Num + MON keys to select the monitor.

- Input the Num + WIN keys to select the display window.

- Input Num + CAM keys to select the camera.

- Press the  key to enter the instant playback interface.

Note:

- The local playback by time is not supported.

- You can press the  button to stop the instant playback.

Other playback operation: Rotate the outer ring of the shutter in clockwise direction to speed up the playback, with the max. speed capable of reaching 16X. And by rotating the outer ring of the shutter in anti-clockwise direction user can speed down the playback, with the min. speed capable of reaching 1/16X.

Note: Currently the inner ring of the shutter is supports no operation.

## 5.4 PTZ Control

### 5.4.1 PTZ Control Function

If the camera connected to the keyboard supports PTZ function, the user is allowed to operate the LIGHT/FOCUS/IRIS/ZOOM/WIPER buttons to realize PTZ control.

Two operation methods can be used to realize PTZ control:

Method 1:

- Input the Num + MON keys to select the monitor.

- Input the Num + WIN keys to select the display window.

Note: When the current window is in cycle view mode, the keyboard will be unable to automatically connect with the camera and now it is invalid to operate the joystick.

Method 2:

- Input the Num + CAM keys to directly select the camera.

- When the camera connected to the keyboard supports PTZ function, operate the joystick and LIGHT/WIPER/FOCUS±/IRIS±/ZOOM buttons to realize PTZ control.

### 5.4.2 Setting a Preset

Select the output monitor or window and the keyboard is capable of automatically connecting with its corresponding camera. Operate the joystick to move PTZ to the desired position and then press the PRESET key to complete the preset settings. The user is also allowed to directly select the camera by inputting Num + CAM keys and then press the PRESET key to start patrol settings.

- Setting a Preset by Output Channel

Steps:

- Input the Num + MON keys to select the output channel.

- Input the Num + WIN keys to select the display window.

- Operate the joystick to move PTZ to the desired position.

- Press the Num + PRESET keys to set the current position as the preset with entered number.

Note: Corresponding error message will appear on the screen when user performs wrong operation.

- Setting a Preset by Input Channel

Steps:

- Input the Num + CAM keys to select the input channel.

- Operate the joystick to move PTZ to the desired position.

Press the Num + PRESET keys to set the current position as the preset with entered number.

Note:

- It is invalid to input the 0+CAM keys in the current operation mode.

- Corresponding error message will appear on the screen when user performs wrong operation.

### 5.4.3 Calling a Preset

The programmed preset can be called to achieve the desired position. Select the output monitor or window and then press the CALL key on the keyboard to call the preset. The user is also allowed to directly select the camera by inputting Num + CAM keys and then press the CALL key to realize preset callup.

- Calling a Preset by Output Channel

Steps:

- Input the Num + MON keys to select the output channel.

- Input the Num + WIN keys to select the display window.

- Press the Num + CALL keys to call the programmed preset.

Note: This operation is valid only when the preset function is supported by the connected camera/dome.

Note: Corresponding error message will appear on the screen when user performs wrong operation.

- Calling a Preset by Input Channel

Steps:

- Input the Num + CAM keys to select the input channel.

- Press the Num + CALL keys to call the programmed preset.

Note: It is invalid to input the 0+CAM keys in the current operation mode.

Note: Corresponding error message will appear on the screen when user performs wrong operation.

### 5.4.4 Setting a Patrol

Select the output monitor or window and the keyboard is capable of automatically connecting with its corresponding camera. Press the SET key on the keyboard and then press PATROL key to enter the patrol settings interface. The user is also allowed to directly select the camera by inputting Num + CAM keys and then press the SET key to start patrol settings.

- Setting a Patrol by Output Channel

Steps:

- Input the Num + MON keys to select the output channel.

- Input the Num + WIN keys to select the display window.

- Press the SET key to enter the settings interface.

- Press the Num + PATROL keys to enter the patrol settings interface.

- Input Num and press the ENTER key to set the preset number, stop time and speed respectively.

- Repeat Step5 to set other presets.

- Press the SET key again to finish the patrol settings.

Note:

- Corresponding error message will appear on the screen when user performs wrong operation.

- All programmed parameters will be cleared if user presses the Num + PATROL keys again in the process of setting the patrol.

- Setting a Patrol by Input Channel

Steps:

- Input the Num + CAM keys to select the input channel.

- Press the SET key to enter the settings interface.

- Press the Num + PATROL keys to enter the patrol settings interface.

- Input Num and press the ENTER key to set the preset number, stop time and speed respectively.

- Press the SET key again to finish the patrol settings.

Note:

- It is invalid to input the 0+CAM keys in the current operation mode.

- Corresponding error message will appear on the screen when user performs wrong operation.

### 5.4.5 Calling a Patrol

Select the output monitor or window and the keyboard is capable of automatically connecting with its corresponding camera. Press the PATROL key on the keyboard to call the programmed patrol. The user is also allowed to directly select the camera and then press the PATROL key to realize patrol callup.

- Calling a Patrol by Output Channel

Steps:

- Input the Num + MON keys to select the output channel.

- Input the Num + WIN keys to select the display window.

- Press the Num + PATROL keys to call the programmed pattern.

Note: This operation is valid only when the patrol function is supported by the connected camera/dome.

Note: Corresponding error message will appear on the screen when user performs wrong operation.

- Calling a Patrol by Input Channel

Steps:

- Input the Num + CAM keys to select the input channel.

- Press the Num + PATROL keys to call the programmed patrol.

Note: It is invalid to input the 0+CAM keys in the current operation mode.

Note: Corresponding error message will appear on the screen when user performs wrong operation.

### 5.4.6 Setting a Pattern

Select the output monitor or window and the keyboard is capable of automatically connecting with its corresponding camera. Press the SET key on the keyboard and then press PATTERN key to enter the pattern settings interface. The user is also allowed to directly select the camera and then press the SET key to start pattern settings.

- Setting a Pattern by Output Channel

Steps:

- Input the Num + MON keys to select the output channel.

- Input the Num + WIN keys to select the display window.

- Press the SET key to enter the settings interface.

- Press the Num + PATTERN keys to set the pattern number.

- Operate the joystick to control PTZ movement.

- Press the SET key again to finish the pattern settings.

Note: It is invalid to input the 0+CAM keys in the current operation mode.

- Setting a Pattern by Input Channel

Steps:

- Input the Num + CAM keys to select the input channel.

- Press the SET key to enter the settings interface.

- Press the Num + PATTERN keys to set the pattern number.

- Operate the joystick to control PTZ movement.

- Press the SET key again to finish the pattern settings.

Note: Corresponding error message will appear on the screen when user performs wrong operation.

### 5.4.7 Calling a Pattern

Select the output monitor or window and the keyboard is capable of automatically connecting with its corresponding camera. Press the PATTERN key on the keyboard to call the programmed pattern. The user is also allowed to directly select the camera by inputting Num + CAM keys and then press the PATTERN key to realize pattern callup.

- Calling a Pattern by Output Channel

Steps:

- Input the Num + MON keys to select the output channel.

- Input the Num + WIN keys to select the display window.

- Press the Num + PATTERN keys to call the programmed pattern.

Note: This operation is valid only when the pattern function is supported by the connected camera/dome.

- Calling a Pattern by Input Channel

Steps:

- Input the Num + CAM keys to select the input channel.

- Press the Num + PATTERN keys to call the programmed pattern.

Note: It is invalid to input the 0+CAM keys in the current operation mode.

Note: Corresponding error message will appear on the screen when user performs wrong operation.

## 5.5 Aux Functions

The keyboard is designed with AUX1 and AUX2 keys on its panel. User is allowed to configure Aux function for AUX1/AUX2 key on the operator user interface. By default settings, the AUX1 is selected to Two-way Audio and the AUX2 to Picture Capture function.

### 5.5.1 Two-way Audio

The two-way audio between the keyboard and the currently selected device can be realized through Aux key.

Start two-way audio with the output channel:

- Input the Num + MON keys to select the output channel.

- Press the AUX1/AUX2 key to start two-way audio.

Start two-way audio with the input channel:

- Input the Num + CAM keys to select the input channel.

- Press the AUX1/AUX2 key (configured with the Two-way Audio function) to start two-way audio.

During the two-way audio:

- User can stop it by pressing the “0+AUX1/AUX2” keys;

- When user inputs “Num + MON” keys and then presses the “AUX1/AUX2”key, it will switch the keyboard to take two-way audio with the nearest device;

- If it needs to take two-way audio with the camera, it needs to press the ESC key, input the “Num + CAM” keys and then press the “AUX1/AUX2”key to start the two-way audio.

When the network is disconnected in the process of two-way audio, user should press the “0+AUX1/AUX2” keys to stop the two-way audio first and then start it again. When user intends to start the two-way audio between the keyboard and the remote device which is taking two-way audio with other device, the error message will appear on the screen.

Note: When the current window is configured with more than channels for display (in cycle view mode), the error message will appear on the screen as well.

### 5.5.2 Picture Capture

The video picture from the camera can be captured and saved in U-flash disk through the keyboard operation.

Operation method 1:

- Input the Num + MON keys to select the output channel.

- Input the Num + WIN keys to select the display window.

- Press the AUX1/AUX2 key (configured with the Picture Capture function) to start picture capture.

Operation method 2:

- Input the Num + CAM keys to select the input channel.

- Press the central button of the joystick.

- The captured picture will be uploaded to keyboard and saved in the local U-flash disk.

Note: When the current window is configured with multiple channels for display (in cycle view mode), the error message will appear on the screen as well.

### 5.5.3 Recording

The video from the camera can be recorded and saved in the local U-flash disk as well. Operate the following steps:

- Input the Num + MON keys to select the output channel.

- Input the Num + WIN keys to select the display window.

- Press the REC key to start video recording.

Note: During the recording, the REC key on the keyboard lights in red. When user exits the operation interface, the recording continues and user is allowed to stop it. When the window is configured with multiple channels for display (in cycle view mode), the error message will appear on the screen. And if the current window or output channel is performing playback by time, then the recording operation is not allowed.

### 5.5.4 Other Functions

The PREV and NEXT keys on the keyboard are used to select the previous or next camera during the shortcut operation.

Operation method 1:

- Input the Num + MON keys to select the output channel.

- Input the Num + WIN keys to select the display window.

- Press the PREV/NEXT key to select the previous or next camera.

Note: If the current window is not in the dynamic decoding mode, it is invalid to press the PREV/NEXT key. When the window is configured with multiple channels for display (in cycle view mode), the error message will appear on the screen.

Operation method 2:

- Input the Num + CAM keys to select the input channel.

- Press the PREV/NEXT key to select the previous or next camera.

# Chapter 6 Matrix Control

## 6.1 Login

Click the Matrix icon on the startup interface.

On the Login interface, input the IP address, port, user name and password of the Matrix, and then click Login.

## 6.2 Configuring Matrix

### 6.2.1 Device List

After you have logged in the Matrix system, you can view the information of its functional modules on the Matrix List interface.

The device types in the Matrix system are shown as follows:

M_ENC: Encoding module

M_DEC: Decoding module

M_CODE: Code distribution module

M_CAS_IN: Input cascading module

M_CAS_OUT: Output cascading module

M_INTEL: Intelligent module

M_ALARM: Alarm module

V6_DEC: V6 decoding module

V6_CAS: V6 cascading module

MATRIX: Matrix

M_DS: Domain system

M_SDS: Sub-domain system

MATRIX ACCESS GATEWAY: Matrix access gateway

#### Bulk Editing Device Parameters

By clicking the Bulk Editting button, you can enter the Bulk Editing interface to modify the parameters of the encoding/decoding modules, including the start IP, end IP, port, subnet mask and gateway.

Note:

- The range from the start IP to end IP must be larger than the number of the functional modules.

- When the NAT function of the system is enabled, it is not allowed to operate the bulk editing.

#### Configuring Encoder/Decoder Parameters

Click the  button of an encoder/decoder on the Matrix List and enter its settings interface.

Please refer to the Chapter 3.2.1.1 Encoder Settings ~ Chapter 3.1.2.2 Decoder Settings for details.

### 6.2.3 Camera List

#### 6.2.3.1 Viewing Camera List

Click the Camera List tag on the “Matrix List” interface to view the information of all cameras connected to the current Matrix system, including the camera ID, channel No., IP address and port.

#### 6.2.3.2 Setting Input Group

Steps:

- Click Input Group to enter the “Matrix Input Group” interface.

- Click  to select the group No. from the drop-down menu.

- Set the Cycle Time (1-65535s) for the current group.

Note: The Cycle Time refers to the dwell time defined for each camera in this group.

- Click the Add Camera key to enter the “Add Camera” interface:

- Select the cameras from the list to be added to the group, and then click Add to add the selected cameras.

- You can also set or modify the Cycle Time (1-65535s) for cameras here.

- Click Finish to return to the “Matrix Input Group” interface, where you can view the successfully added cameras for the current group.

- Click Save to save the settings.

### 6.2.4 Monitor List

#### 6.2.4.1 Viewing Monitor List

Click the Monitor List tab on the “Matrix List” interface to view the information of all monitors connected to the current Matrix system, including the monitor ID, output type, IP address and port.

Click the  button of a monitor from the list to enter the Monitor Settings interface.

Configuring monitor settings:

- Select the max. decoding ability of the decoder to D1, 720P or 1080P.

- Select the output type.

- Select the window-division mode.

Note: The window-division mode depends on the decoding module of the matrix. E.g., the standard-definition decoding module (BNC output) supports 1 / 4-division mode, while the high-definition decoding module (VGA / DVI / HDMI output) supports 1 / 4 / 9 / 16-division mode.

- You can also enable audio for the window if needed.

- After having finished the above settings, click Save.

Quick Operation of Monitor Settings:

- Press the Num + MON keys to select the monitor.

- Press the Num + MULT keys to select the window-division on the monitor.

Example: You can input the “2+MON, 16+MULT” keys to realize 16-divison display on monitor 2

#### 6.2.4.2 Setting Output Group

Steps:

- Click Output Group to on the “Matrix List” interface to enter the “Matrix Output Group” interface.

- Click to select the group No. from the drop-down menu.

- Click the Add Output key to enter the “Add Output” interface:

- Select the outputs from the list to be added to the group, and then click Add to finish the setting.

- Click Finish to return to the “Matrix Output Group” interface, where you can view the successfully added output channels for the current group.

#### 6.2.4.3 Displaying Video on Monitor

The selected input signal can be outputted and displayed by the decoding channel on the monitor. Currently, the supported decoding resolution includes: QCIF, CIF, 2CIF, DCIF, 4CIF, 720p, 1080p, VGA, UXGA, etc. The output interface can be selected to BNC/VGA/HDMI/DVI.

Steps:

- Press the Num + MON keys to select the monitor.

- Press the Num + WIN keys to select the display window on the monitor.

- Press the Num + CAM keys to select the input camera.

Example: You can press the “1+MON, 2+WIN, 3+CAM” keys to decode the video signal from camera 3 and display it on window 2 of monitor 1.

When you press the 0+CAM keys, it will stop the dynamic decoding of the current window. If no display window is selected, the decoding of the 1st window will be stopped by default.

### 6.2.5 Screen Settings

#### 6.2.5.1 Screen Settings

Click the Screen Settings tag on the “Matrix List” interface to configure video display on screen.

Steps:

- Select the screen No..

- Enable the screen display by clicking the checkbox.

- Select the screen mode.

- Set the main screen No. which refers to the output for image processing.

- Configure the sub-window settings.

- Select the window, which refers to the sub-window No. of the screen. E.g., if the screen mode is selected to 2 x 2, then the sub-windows can be numbered as 1, 2, 3 and 4.

- Select the sub-screen No., which refers to the output connected to the selected sub-window in Step 5 (1).

Note: The Main Screen No. and the Sub-screen No. cannot be the same with each other.

- Repeat the Step 5 (1)~(2) to set other sub-windows and their related sub-screen No.

- Click Save to save the sub-window settings.

- Click Apply to finish the screen settings.

#### 6.2.5.2 Video Output to Screen

You can follow the steps below to view the video from a camera on the selected screen.

Steps:

- Press the Num + AUX1 / AUX2 keys to select the screen.

- Press the Num + CAM keys to select the input camera. The number of camera can be viewed from the Camera List.

Example: You can press the “1+AUX1 / AUX2, 3+CAM” keys to view the video signal from camera 3 on screen 1.

Note: The multi- division display mode is not supported by screen.

# Appendix 1: Specifications

| Model | DS-1100KI |
| --- | --- |
| Control Mode | IP-based |
| TFT LCD Panel | 7” TFT LCD monitor with touch panel |
|  | Resolution: 800 × 480 |
| Joystick | 4-axis joystick |
| Audio Input / Output | Line In | 1-ch, 3.5 mm connector (2.0 Vp-p, 1 kΩ） |
|  | Audio Out | 1-ch, 3.5 mm connector (Linear, 560 Ω) |
| External Interface | Network Interface | 1 10M/100M/1000M Ethernet interface |
|  | RS-232 Interface | 1 RS-232 interface |
|  | RS-485 Interface | 1 RS-485 interface |
|  | USB Interface | 1, USB2.0 (for data storage and device upgrade) |
| General | Power Supply | 12V DC |
|  | Power Consumption | ≤ 15W |
|  | Working Temperature | -10℃ ~ +55℃ |
|  | Working Humidity | 10% ~ 90% |
|  | Dimensions (W × D × H) | 193 × 435 × 110 mm |
|  | Weight | 2Kg |

# Appendix 2: Upgrade by FTP

Enable the FTP service on PC and operate the following steps:

Steps:

- Open the wftp software, and then select Security->Users/rights option.

- Create new user.

- Input the user name: target, password: target, and then click OK to continue.

- Select the user name to target.

- Input the directory of the upgrade file in the text box of Home Directory, and then click Done to start system upgrading.